## 00 Pack Guide
OT Sector Pack - Manufacturing - MF-v1.0
Orientation for the pack owner. States that this file is sector calibration for the common facility-level OT engine.
This workbook contains Manufacturing reference calibration. Do not enter client-specific or assessment-specific data in this workbook.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Purpose
Supply Manufacturing actor-intensity, asset-archetype, TTP applicability, frequency overlay and BIA reference assumptions for pack ID MF-v1.0 / v1.0.
Calculation / decision logic
Python validates pack identity, schema, TTP coverage and multipliers, then applies assessment overrides separately.
Outputs / downstream use
Loaded by Guided_IT_OT_CRQ_Model_v1_0.xlsx. The combined workbook must not retain a second authoritative copy of these values.
Workbook convention
Yellow cells with blue font are pack-owner editable. Do not enter assessment data here.
PACK DESIGN PRINCIPLES
1 | One common OT-CRQ engine; packs contain sector data and rationale only.
2 | Same pack workbook format as the Financial Services IT pack (guide, metadata, row-15 tables, evidence columns).
3 | Core path, control and Monte Carlo mechanics stay in the OT engine.

## 01 Pack Metadata
01 — Pack Metadata
Identity, OT domain, schema CRQ-OT-PACK-1.0, minimum engine 1.7.1, status and facility unit of analysis.
How used in the model: Resolved from config/sector_pack_registry.json and checked fail-closed before any OT pack number is applied.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
DOMAIN | IT
Key | Value | Description | Evidence grade | Source ID
PACK_ID | MF-v1.0 | Unique pack identifier | D | SRC-OT-01
SECTOR | Manufacturing | Exact combined-workbook sector selection | D | SRC-OT-01
DOMAIN | OT | Model domain | D | SRC-OT-01
PACK_VERSION | 1.0 | Pack content version | D | SRC-OT-01
SCHEMA_VERSION | CRQ-OT-PACK-1.0 | Required table schema | D | SRC-OT-01
MIN_ENGINE_VERSION | 1.7.1 | Minimum compatible Python engine | D | SRC-OT-01
STATUS | Working pack — controlled calibration | Must not be described as fully externally validated unless that evidence exists | D | SRC-OT-01
UNIT_OF_ANALYSIS | Facility | OT unit of analysis | D | SRC-OT-01
PACK_OWNER | Sector Pack Owner | Editable during assessment: No | D | SRC-OT-01
PRIMARY_EVIDENCE | NIST IR 8183; NIST SP 1800-10; NIST SP 800-82; MITRE ATT&CK for ICS | Primary evidence cited in the former embedded registry | C | SRC-OT-01

## 02 Actor Weights
02 — Threat-Actor Weights
Sector actor-intensity multipliers (not a mix that must sum to 1) plus asset-type frequency overlays.
How used in the model: Multiplies core OT campaign intensity for Nation State, Cybercriminal and Malicious Insider after the selected asset overlay. Assessment OT 06 still holds λ method, shares and facility exposure.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Actor ID | Threat actor | Weight | Basis / limitation | Evidence grade | Source ID
A_NS | Nation State | 85% | Cybercriminal uplift reflects sustained ransomware concentration in manufacturing; raw victim shares are not used directly because sector denominators are unavailable. | D | SRC-OT-01
A_CC | Cybercriminal | 125% | Cybercriminal uplift reflects sustained ransomware concentration in manufacturing; raw victim shares are not used directly because sector denominators are unavailable. | D | SRC-OT-01
A_MI | Malicious Insider | 100% | Cybercriminal uplift reflects sustained ransomware concentration in manufacturing; raw victim shares are not used directly because sector denominators are unavailable. | D | SRC-OT-01
CHECK | Pack ID | MF-v1.0
ASSET-TYPE FREQUENCY OVERLAYS
Asset type | Nation State | Cybercriminal | Malicious Insider | Parameter type | Status | Rationale / how used | Evidence grade | Source ID
Process Manufacturing | 1 | 1 | 1 | Calibration parameter | Working pack v1.0 | Asset-type multiplier remains neutral 1.00. Sector differentiation is applied at actor level; manufacturing ransomware pressure is captured by the sector Cybercriminal multiplier rather than arbitrary asset-type scaling. | D | SRC-OT-01
Batch Manufacturing | 1 | 1 | 1 | Calibration parameter | Working pack v1.0 | Asset-type multiplier remains neutral 1.00. Sector differentiation is applied at actor level; manufacturing ransomware pressure is captured by the sector Cybercriminal multiplier rather than arbitrary asset-type scaling. | D | SRC-OT-01
Discrete Manufacturing | 1 | 1 | 1 | Calibration parameter | Working pack v1.0 | Asset-type multiplier remains neutral 1.00. Sector differentiation is applied at actor level; manufacturing ransomware pressure is captured by the sector Cybercriminal multiplier rather than arbitrary asset-type scaling. | D | SRC-OT-01
Hybrid Manufacturing | 1 | 1 | 1 | Calibration parameter | Working pack v1.0 | Asset-type multiplier remains neutral 1.00. Sector differentiation is applied at actor level; manufacturing ransomware pressure is captured by the sector Cybercriminal multiplier rather than arbitrary asset-type scaling. | D | SRC-OT-01

## 03 Actor Scenario
03 — Actor-to-Scenario Propensity
Conditional share of each actor’s campaigns across the five OT adverse scenarios.
How used in the model: Authoritative sector input. The OT engine reads this table from the pack (not OT 06). Rows must sum to 1.0. Facility λ, actor shares and exposure remain on OT 06.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Actor ID | Operational Disruption | Loss of Control or Visibility | Process Manipulation | Safety System Compromise | Destructive or Integrity Attack | Row total
A_NS | 25% | 15% | 25% | 15% | 20%
A_CC | 70% | 10% | 5% | 2% | 13%
A_MI | 30% | 15% | 20% | 10% | 25%

## 04 Route Definitions
04 — Route Definitions
Placeholder kept so OT packs use the same worksheet names as the FS IT pack.
How used in the model: Not used. OT has no IT composite routes; stages S1–S5 and TTP gates stay in OT CORE.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID
OT_CORE | Held in core OT methodology | OT does not use IT composite routes. Attack stages S1–S5 and TTP gates are core OT methodology; sector TTP emphasis is on 12 TTP Catalogue. | D | SRC-OT-01

## 05 Actor Route
05 — Asset Archetypes
Registered plant / asset archetypes for this sector (tab name kept for format; content is asset types, not IT routes).
How used in the model: Fail-closed lookup of the Run Setup asset type. Pack ID on the matched row must equal this workbook’s PACK_ID.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Sector | Plant / asset type | Pack ID | Operating profile | Safety / protection context | BIA treatment | Calibration status | Evidence grade | Source ID
Manufacturing | Process Manufacturing | MF-v1.0 | Continuous process manufacturing | SIS / interlocks where present | Current 18-driver BIA retained | Working pack v1.0 — facility calibration required | D | SRC-OT-01
Manufacturing | Batch Manufacturing | MF-v1.0 | Batch or regulated production | Interlocks / batch safeguards where present | Current 18-driver BIA retained | Working pack v1.0 — facility calibration required | D | SRC-OT-01
Manufacturing | Discrete Manufacturing | MF-v1.0 | Lines, cells, robots and CNC | Machine safety / interlocks where present | Current 18-driver BIA retained | Working pack v1.0 — facility calibration required | D | SRC-OT-01
Manufacturing | Hybrid Manufacturing | MF-v1.0 | Mixed process and discrete production | Process and machine safeguards where present | Current 18-driver BIA retained | Working pack v1.0 — facility calibration required | D | SRC-OT-01

## 06 Scenario Route
06 — Scenario-to-Route Propensity
Placeholder for IT scenario-to-route propensity.
How used in the model: Not used. OT scenario structure is core methodology, not an IT-style route mix.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID | R_DDOS | R_INS | Row total
OT_CORE | Held in core OT methodology | Not used by the OT engine. OT scenario propensity remains core methodology on OT CORE / OT 06. | D | SRC-OT-01

## 07 Stage Requirements
07 — Scenario-Aware Stage Requirements
Placeholder for IT scenario-aware stage masks.
How used in the model: Not used. Five-stage requirements are defined on OT CORE, not in the pack.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID | S3 | S4 | S5 | Rationale | Evidence grade | Source ID | Override rule
OT_CORE | Held in core OT methodology | Five-stage path requirements are core OT methodology. This pack does not override them. | D | SRC-OT-01

## 08 Stage Priors
08 — Reference Stage-Through Priors
Placeholder for IT reference stage-through priors.
How used in the model: Not used. Stage-through math is core OT; sector intensity is sheet 02.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID | S4 | S5
OT_CORE | Held in core OT methodology | Stage-through calculation is core OT methodology. Sector intensity is on 02 Actor Weights. | D | SRC-OT-01

## 09 Scenario Parameters
09 — Scenario Impact Parameters
Row-oriented sector P50/P99 downtime and capacity parameters (DOWNTIME_DAYS, CAPACITY_AFFECTED).
How used in the model: Authoritative sector input. The OT engine loads this table from the pack (not OT 05 A58:G62). IT enterprise parameters are not used. Facility revenue/BI factor and driver rates remain on OT 05.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Scenario ID | Scenario | Parameter ID | P50 | P99 | Unit | Applies? | Evidence grade | Source ID | Description / rationale
SC_1 | Operational Disruption | DOWNTIME_DAYS | 5 | 45 | days | Yes | D | SRC-OT-01 | Days of lost or reduced facility operation for this scenario. Drives business interruption and daily operating-cost drivers; not the same as restoration/rebuild effort days on driver rates. Sector note: Material outage/reduced generation; use BIA, dispatch and claims evidence.
SC_1 | Operational Disruption | CAPACITY_AFFECTED | 75% | 100% | share (0-1) | Yes | D | SRC-OT-01 | Share of facility capacity or output affected while downtime runs (0 to 1). Scales business-interruption loss together with downtime days. Sector note: Material outage/reduced generation; use BIA, dispatch and claims evidence.
SC_2 | Loss of Control or Visibility | DOWNTIME_DAYS | 3 | 30 | days | Yes | D | SRC-OT-01 | Days of lost or reduced facility operation for this scenario. Drives business interruption and daily operating-cost drivers; not the same as restoration/rebuild effort days on driver rates. Sector note: Loss of trusted view/control may force conservative operation or shutdown.
SC_2 | Loss of Control or Visibility | CAPACITY_AFFECTED | 50% | 100% | share (0-1) | Yes | D | SRC-OT-01 | Share of facility capacity or output affected while downtime runs (0 to 1). Scales business-interruption loss together with downtime days. Sector note: Loss of trusted view/control may force conservative operation or shutdown.
SC_3 | Process Manipulation | DOWNTIME_DAYS | 7 | 60 | days | Yes | D | SRC-OT-01 | Days of lost or reduced facility operation for this scenario. Drives business interruption and daily operating-cost drivers; not the same as restoration/rebuild effort days on driver rates. Sector note: Unsafe or off-spec process changes may require inspection and recommissioning.
SC_3 | Process Manipulation | CAPACITY_AFFECTED | 75% | 100% | share (0-1) | Yes | D | SRC-OT-01 | Share of facility capacity or output affected while downtime runs (0 to 1). Scales business-interruption loss together with downtime days. Sector note: Unsafe or off-spec process changes may require inspection and recommissioning.
SC_4 | Safety System Compromise | DOWNTIME_DAYS | 14 | 120 | days | Yes | D | SRC-OT-01 | Days of lost or reduced facility operation for this scenario. Drives business interruption and daily operating-cost drivers; not the same as restoration/rebuild effort days on driver rates. Sector note: Protection/SIS restoration and assurance can extend outage duration.
SC_4 | Safety System Compromise | CAPACITY_AFFECTED | 80% | 100% | share (0-1) | Yes | D | SRC-OT-01 | Share of facility capacity or output affected while downtime runs (0 to 1). Scales business-interruption loss together with downtime days. Sector note: Protection/SIS restoration and assurance can extend outage duration.
SC_5 | Destructive or Integrity Attack | DOWNTIME_DAYS | 30 | 180 | days | Yes | D | SRC-OT-01 | Days of lost or reduced facility operation for this scenario. Drives business interruption and daily operating-cost drivers; not the same as restoration/rebuild effort days on driver rates. Sector note: Rebuild, replacement and integrity assurance create the longest tail.
SC_5 | Destructive or Integrity Attack | CAPACITY_AFFECTED | 100% | 100% | share (0-1) | Yes | D | SRC-OT-01 | Share of facility capacity or output affected while downtime runs (0 to 1). Scales business-interruption loss together with downtime days. Sector note: Rebuild, replacement and integrity assurance create the longest tail.

## 10 Driver Rates
10 — Impact Driver Rates
Pack P50/P99 rates for the common OT BIA drivers.
How used in the model: Reference copy. Facility quantities and overrides stay on OT 05. Python does not currently reload these rates from the external pack file.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Rate ID | Driver | P50 | P99 | Unit | Source / status | Evidence grade | Source ID
IR-01 | OT and digital forensic investigation | 20000 | 45000 | USD/day × days | Working prior; replace with IR retainer, panel and claims data. | D | SRC-OT-01
IR-02 | External cyber incident response | 25000 | 50000 | USD/day × days | Working prior; replace with response supplier evidence. | D | SRC-OT-01
IR-03 | Crisis communications | 10000 | 25000 | USD/day × days | Working prior; calibrate with communications and panel rates. | D | SRC-OT-01
RC-01 | OT restoration and recommissioning | 30000 | 75000 | USD/day × days | Working prior; replace with Engineering/O&M work-pack estimates. | D | SRC-OT-01
RC-02 | OEM and specialist engineering support | 25000 | 75000 | USD/day × days | Working prior; replace with OEM/framework agreements. | D | SRC-OT-01
RC-03 | Configuration/data restoration and integrity validation | 15000 | 40000 | USD/day × days | Working prior; calibrate from recovery plans and exercises. | D | SRC-OT-01
BI-01 | Business interruption |  |  | USD | Agreed revenue-based convention; scenario duration/capacity below. | D | SRC-OT-01
OP-01 | Manual operations / increased cost of working | 50000 | 200000 | USD/day × scenario days | Working prior; replace with continuity and operations estimates. | D | SRC-OT-01
OP-02 | Alternative supply / availability and contract penalties | 150000 | 750000 | USD/day × scenario days | Working prior; calibrate with Commercial contracts, continuity arrangements and penalty terms. | D | SRC-OT-01
EX-01 | Extortion / ransom | 2000000 | 25000000 | USD | Working prior; replace with approved incident/claims/market evidence. | D | SRC-OT-01
LG-01 | Legal and regulatory response | 10000 | 30000 | USD/day × days | Working prior; replace with Legal panel and response estimates. | D | SRC-OT-01
LG-02 | Regulatory fines and penalties |  |  | share of annual revenue | Working prior; Legal must calibrate jurisdiction and enforcement context. | D | SRC-OT-01
SF-01 | Safety and emergency response | 1000000 | 25000000 | USD | Working prior; replace with HSE scenario and claims evidence. | D | SRC-OT-01
EN-01 | Environmental remediation | 1000000 | 50000000 | USD | Working prior; replace with HSE/environmental loss scenarios. | D | SRC-OT-01
PD-01 | OT endpoint / controller replacement | 15000 | 40000 | USD/unit × affected share | Working prior; calibrate from asset register and replacement estimates. | D | SRC-OT-01
PD-02 | OT server / engineering-system replacement | 50000 | 150000 | USD/unit × affected share | Working prior; calibrate from asset register/OEM estimates. | D | SRC-OT-01
PD-03 | Major equipment / physical damage | 2000000 | 150000000 | USD | Working prior; replace with Engineering/property loss scenarios. | D | SRC-OT-01
IN-01 | Post-event security uplift |  |  | share of annual revenue | Working prior; calibrate with Cyber/Engineering remediation plans. | D | SRC-OT-01
FORMULA-LINKED CONDITIONAL DRIVER COST BY SCENARIO | [5 empty] | D | SRC-OT-01
Scenario | Driver ID | Cost driver | P50 conditional cost | Actor applicability |  | D | SRC-OT-01
Operational Disruption | IR-01 | OT and digital forensic investigation |  | All |  | D | SRC-OT-01

## 11 Impact Driver Matrix
11 — Actor and Scenario Impact Applicability
Pack driver-to-scenario applicability (1 = applies).
How used in the model: Reference copy of the governed OT matrix. Runtime applicability is still the OT 05 / core BIA path.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Driver ID | Driver | Loss block | Operational Disruption | Loss of Control or Visibility | Process Manipulation | Safety System Compromise | Destructive or Integrity Attack | Evidence grade | Source ID | SC_FRAUD | Evidence grade | Source ID | Rationale
IR-01 | OT and digital forensic investigation | Incident response costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
IR-02 | External cyber incident response | Incident response costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
IR-03 | Crisis communications | Incident response costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
RC-01 | OT restoration and recommissioning | Recovery and restoration costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
RC-02 | OEM and specialist engineering support | Recovery and restoration costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
RC-03 | Configuration/data restoration and integrity validation | Recovery and restoration costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
BI-01 | Business interruption | Business interruption and continuity | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
OP-01 | Manual operations / increased cost of working | Business interruption and continuity | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
OP-02 | Alternative supply / availability and contract penalties | Business interruption and continuity | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
EX-01 | Extortion / ransom | Direct loss / extortion | 1 | 0 | 0 | 0 | 1 | D | SRC-OT-01
LG-01 | Legal and regulatory response | Legal and regulatory costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
LG-02 | Regulatory fines and penalties | Legal and regulatory costs | 0 | 0 | 1 | 1 | 1 | D | SRC-OT-01
SF-01 | Safety and emergency response | Safety and environmental costs | 0 | 0 | 1 | 1 | 1 | D | SRC-OT-01
EN-01 | Environmental remediation | Safety and environmental costs | 0 | 0 | 1 | 1 | 1 | D | SRC-OT-01
PD-01 | OT endpoint / controller replacement | Physical damage costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
PD-02 | OT server / engineering-system replacement | Physical damage costs | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01
PD-03 | Major equipment / physical damage | Physical damage costs | 0 | 0 | 1 | 1 | 1 | D | SRC-OT-01
IN-01 | Post-event security uplift | Indirect losses | 1 | 1 | 1 | 1 | 1 | D | SRC-OT-01

## 12 TTP Catalogue
12 — ATT&CK for ICS Catalogue
ATT&CK for ICS techniques for this sector: default applicable Yes/No, facility gate, rationale and guidance URL.
How used in the model: Every governed TTP on OT CORE - Scenario-TTP Map must have a row. Applicability and gates feed OT path feasibility; missing rows fail closed.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
TTP ID | Technique | Stage | Platforms | MITRE URL | Default applicable? | Facility gate | Rationale | Sector guidance URL | Calibration status | Evidence grade | Source ID | SC_FRAUD
T0800 | Activate Firmware Update Mode | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0800 | Yes | No explicit facility gate — defaults feasible | Activate Firmware Update Mode is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0801 | Monitor Process State | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0801 | Yes | No explicit facility gate — defaults feasible | Monitor Process State can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0802 | Automated Collection | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0802 | Yes | No explicit facility gate — defaults feasible | Automated Collection can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0806 | Brute Force I/O | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0806 | Yes | No explicit facility gate — defaults feasible | Brute Force I/O is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0807 | Command-Line Interface | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0807 | Yes | No explicit facility gate — defaults feasible | Command-Line Interface is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0809 | Data Destruction | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0809 | Yes | No explicit facility gate — defaults feasible | Data Destruction is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0811 | Data from Information Repositories | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0811 | Yes | No explicit facility gate — defaults feasible | Data from Information Repositories can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0813 | Denial of Control | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0813 | Yes | No explicit facility gate — defaults feasible | Denial of Control is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0814 | Denial of Service | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0814 | Yes | No explicit facility gate — defaults feasible | Denial of Service is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0815 | Denial of View | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0815 | Yes | No explicit facility gate — defaults feasible | Denial of View is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0816 | Device Restart/Shutdown | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0816 | Yes | No explicit facility gate — defaults feasible | Device Restart/Shutdown is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0817 | Drive-by Compromise | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0817 | Yes | No explicit facility gate — defaults feasible | The Drive-by Compromise route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0819 | Exploit Public-Facing Application | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0819 | Yes | No explicit facility gate — defaults feasible | The Exploit Public-Facing Application route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0820 | Exploitation for Evasion | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0820 | Yes | No explicit facility gate — defaults feasible | Exploitation for Evasion is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0821 | Modify Controller Tasking | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0821 | Yes | No explicit facility gate — defaults feasible | Modify Controller Tasking is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0822 | External Remote Services | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0822 | Yes | REMOTE_REQUIRED — Not None | The External Remote Services route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0823 | Graphical User Interface | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0823 | Yes | No explicit facility gate — defaults feasible | Graphical User Interface is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0826 | Loss of Availability | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0826 | Yes | No explicit facility gate — defaults feasible | Loss of Availability is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0827 | Loss of Control | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0827 | Yes | No explicit facility gate — defaults feasible | Loss of Control is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0828 | Loss of Productivity and Revenue | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0828 | Yes | No explicit facility gate — defaults feasible | Loss of Productivity and Revenue is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0829 | Loss of View | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0829 | Yes | No explicit facility gate — defaults feasible | Loss of View is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0830 | Adversary-in-the-Middle | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0830 | Yes | No explicit facility gate — defaults feasible | Adversary-in-the-Middle can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0831 | Manipulation of Control | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0831 | Yes | No explicit facility gate — defaults feasible | Manipulation of Control is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0832 | Manipulation of View | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0832 | Yes | No explicit facility gate — defaults feasible | Manipulation of View is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0834 | Native API | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0834 | Yes | No explicit facility gate — defaults feasible | Native API is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0835 | Manipulate I/O Image | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0835 | Yes | No explicit facility gate — defaults feasible | Manipulate I/O Image is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0836 | Modify Parameter | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0836 | Yes | No explicit facility gate — defaults feasible | Modify Parameter is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0837 | Loss of Protection | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0837 | Yes | No explicit facility gate — defaults feasible | Loss of Protection is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0838 | Modify Alarm Settings | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0838 | Yes | No explicit facility gate — defaults feasible | Modify Alarm Settings is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0840 | Network Connection Enumeration | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0840 | Yes | No explicit facility gate — defaults feasible | Network Connection Enumeration can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0842 | Network Sniffing | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0842 | Yes | No explicit facility gate — defaults feasible | Network Sniffing can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0843 | Program Download | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0843 | Yes | No explicit facility gate — defaults feasible | Program Download can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0843.001 | Download All | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0843/001 | Yes | No explicit facility gate — defaults feasible | Download All can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0843.002 | Online Edit | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0843/002 | Yes | No explicit facility gate — defaults feasible | Online Edit can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0843.003 | Program Append | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0843/003 | Yes | No explicit facility gate — defaults feasible | Program Append can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0845 | Program Upload | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0845 | Yes | No explicit facility gate — defaults feasible | Program Upload can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0846 | Remote System Discovery | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0846 | Yes | No explicit facility gate — defaults feasible | Remote System Discovery can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0846.001 | Port Scan | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0846/001 | Yes | No explicit facility gate — defaults feasible | Port Scan can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0846.002 | Broadcast Discovery | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0846/002 | Yes | No explicit facility gate — defaults feasible | Broadcast Discovery can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0846.003 | Multicast Discovery | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0846/003 | Yes | No explicit facility gate — defaults feasible | Multicast Discovery can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0847 | Replication Through Removable Media | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0847 | Yes | TRANSIENT_REQUIRED — Not None | The Replication Through Removable Media route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0848 | Rogue Master | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0848 | Yes | No explicit facility gate — defaults feasible | The Rogue Master route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0849 | Masquerading | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0849 | Yes | No explicit facility gate — defaults feasible | Masquerading is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0851 | Rootkit | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0851 | Yes | No explicit facility gate — defaults feasible | Rootkit is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0852 | Screen Capture | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0852 | Yes | No explicit facility gate — defaults feasible | Screen Capture can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0853 | Scripting | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0853 | Yes | No explicit facility gate — defaults feasible | Scripting is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0858 | Change Operating Mode | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0858 | Yes | No explicit facility gate — defaults feasible | Change Operating Mode is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0859 | Valid Accounts | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0859 | Yes | No explicit facility gate — defaults feasible | Valid Accounts can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0860 | Wireless Compromise | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0860 | Yes | WIRELESS — Yes | The Wireless Compromise route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0861 | Point & Tag Identification | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0861 | Yes | No explicit facility gate — defaults feasible | Point & Tag Identification can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0862 | Supply Chain Compromise | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0862 | Yes | SUPPLY_CHAIN — Yes | The Supply Chain Compromise route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0863 | User Execution | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0863 | Yes | No explicit facility gate — defaults feasible | User Execution is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0864 | Transient Cyber Asset | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0864 | Yes | TRANSIENT_REQUIRED — Not None | The Transient Cyber Asset route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0865 | Spearphishing Attachment | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0865 | Yes | No explicit facility gate — defaults feasible | The Spearphishing Attachment route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0866 | Exploitation of Remote Services | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0866 | Yes | REMOTE_OR_ITOT — Remote path or IT-OT connection | The Exploitation of Remote Services route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0867 | Lateral Tool Transfer | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0867 | Yes | No explicit facility gate — defaults feasible | Lateral Tool Transfer can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0868 | Detect Operating Mode | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0868 | Yes | No explicit facility gate — defaults feasible | Detect Operating Mode can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0869 | Standard Application Layer Protocol | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0869 | Yes | No explicit facility gate — defaults feasible | Standard Application Layer Protocol can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0871 | Execution through API | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0871 | Yes | No explicit facility gate — defaults feasible | Execution through API is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0872 | Indicator Removal on Host | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0872 | Yes | No explicit facility gate — defaults feasible | Indicator Removal on Host is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0873 | Project File Infection | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0873 | Yes | No explicit facility gate — defaults feasible | Project File Infection is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0873.001 | Siemens Project File Format | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0873/001 | Yes | No explicit facility gate — defaults feasible | Siemens Project File Format is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0874 | Hooking | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0874 | Yes | No explicit facility gate — defaults feasible | Hooking is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0877 | I/O Image | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0877 | Yes | No explicit facility gate — defaults feasible | I/O Image can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0878 | Alarm Suppression | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0878 | Yes | No explicit facility gate — defaults feasible | Alarm Suppression is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0879 | Damage to Property | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0879 | Yes | No explicit facility gate — defaults feasible | Damage to Property is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0880 | Loss of Safety | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0880 | Yes | No explicit facility gate — defaults feasible | Loss of Safety is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0881 | Service Stop | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0881 | Yes | No explicit facility gate — defaults feasible | Service Stop is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0882 | Theft of Operational Information | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0882 | Yes | No explicit facility gate — defaults feasible | Theft of Operational Information is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0883 | Internet Accessible Device | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0883 | Yes | INTERNET_OT — Yes | The Internet Accessible Device route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0884 | Connection Proxy | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0884 | Yes | No explicit facility gate — defaults feasible | Connection Proxy can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0885 | Commonly Used Port | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0885 | Yes | No explicit facility gate — defaults feasible | Commonly Used Port can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0886 | Remote Services | S1 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0886 | Yes | REMOTE_OR_ITOT — Remote path or IT-OT connection | The Remote Services route is credible for Manufacturing OT when the enabling access condition exists; existing facility gates determine remote, internet, transient, supply-chain or wireless feasibility. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0887 | Wireless Sniffing | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0887 | Yes | WIRELESS — Yes | Wireless Sniffing can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0888 | Remote System Information Discovery | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0888 | Yes | No explicit facility gate — defaults feasible | Remote System Information Discovery can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0889 | Modify Program | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0889 | Yes | No explicit facility gate — defaults feasible | Modify Program is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0890 | Exploitation for Privilege Escalation | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0890 | Yes | No explicit facility gate — defaults feasible | Exploitation for Privilege Escalation is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0892 | Change Credential | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0892 | Yes | No explicit facility gate — defaults feasible | Change Credential is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0893 | Data from Local System | S4 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0893 | Yes | No explicit facility gate — defaults feasible | Data from Local System can support discovery or interaction with process state, control assets and operational data in Manufacturing environments. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0894 | System Binary Proxy Execution | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0894 | Yes | No explicit facility gate — defaults feasible | System Binary Proxy Execution is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T0895 | Autorun Image | S2 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T0895 | Yes | No explicit facility gate — defaults feasible | Autorun Image is applicable to execution or persistence on engineering workstations, HMIs, servers or controllers used in Manufacturing facilities. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1691 | Block Operational Technology Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1691 | Yes | No explicit facility gate — defaults feasible | Block Operational Technology Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1691.001 | Command Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1691/001 | Yes | No explicit facility gate — defaults feasible | Command Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1691.002 | Reporting Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1691/002 | Yes | No explicit facility gate — defaults feasible | Reporting Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1692 | Unauthorized Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1692 | Yes | No explicit facility gate — defaults feasible | Unauthorized Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1692.001 | Command Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1692/001 | Yes | No explicit facility gate — defaults feasible | Command Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1692.002 | Reporting Message | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1692/002 | Yes | No explicit facility gate — defaults feasible | Reporting Message is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1693 | Modify Firmware | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1693 | Yes | No explicit facility gate — defaults feasible | Modify Firmware is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1693.001 | System Firmware | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1693/001 | Yes | No explicit facility gate — defaults feasible | System Firmware is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1693.002 | Module Firmware | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1693/002 | Yes | No explicit facility gate — defaults feasible | Module Firmware is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1694 | Insecure Credentials | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1694 | Yes | No explicit facility gate — defaults feasible | Insecure Credentials can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1694.001 | Default Credentials | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1694/001 | Yes | No explicit facility gate — defaults feasible | Default Credentials can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1694.002 | Hardcoded Credentials | S3 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1694/002 | Yes | No explicit facility gate — defaults feasible | Hardcoded Credentials can support movement toward or within plant/control zones; actual reachability is governed by the assessed facility architecture. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1695 | Block Communications | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1695 | Yes | No explicit facility gate — defaults feasible | Block Communications is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1695.001 | Serial COM | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1695/001 | Yes | No explicit facility gate — defaults feasible | Serial COM is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1695.002 | Ethernet | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1695/002 | Yes | No explicit facility gate — defaults feasible | Ethernet is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01
T1695.003 | Wi-Fi | S5 | All registered asset types; actual architecture/platform evidence overrides | https://attack.mitre.org/techniques/T1695/003 | Yes | WIRELESS — Yes | Wi-Fi is an ATT&CK for ICS impact or response-inhibition technique that can support one or more governed adverse scenarios; scenario role remains controlled on 09. | https://csrc.nist.gov/pubs/ir/8183/r1/final | Working sector pack v1.0 — SME review recommended | D | SRC-OT-01

## 13 Route TTP Map
13 — Route-to-TTP Mapping
Placeholder for IT route-to-TTP weights.
How used in the model: Not used. OT technique-to-scenario mapping is OT CORE - Scenario-TTP Map; sector Yes/No is sheet 12.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID
OT_CORE | Held in core OT methodology | OT maps techniques through the core Scenario-TTP and TTP-Control sheets. Sector applicability is sheet 12. | D | SRC-OT-01

## 14 Control Reference
14 — Reference Control Profile
Placeholder for an IT-style reference control profile.
How used in the model: Not used. OT control maturity and reference-relative adjustment are core OT (OT 04 / OT CORE).
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID | Reference coverage | Description | Status | Evidence grade | Source ID
OT_CORE | Held in core OT methodology | OT control maturity scale and reference-relative adjustment are core OT methodology. | D | SRC-OT-01

## 15 Control TTP Map
15 — Control-to-TTP Efficacy Map
Placeholder for IT control-to-TTP efficacy.
How used in the model: Not used. OT TTP-control efficacy is OT CORE - TTP-Control Map.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Item | Value | Description | Evidence grade | Source ID | Evidence grade | Source ID
OT_CORE | Held in core OT methodology | TTP-control efficacy is core OT (OT CORE - TTP-Control Map). This pack does not duplicate it. | D | SRC-OT-01

## 16 Sources
16 — Sources and Evidence
Bibliography and limitations for this sector pack.
How used in the model: Traceability only. The engine does not take λ or loss numbers from this sheet.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Source ID | Source | URL / file | How used | Limitation
SRC-OT-01 | Embedded OT sector pack (extracted) | OT CORE / former sheets 28–32 | Identity, archetypes, TTP rationale and frequency overlays | Working prior unless a later pack revision cites new evidence.
SRC-OT-02 | MITRE ATT&CK for ICS | https://attack.mitre.org/matrices/ics/ | Technique taxonomy | ATT&CK is not a frequency dataset.
SRC-OT-03 | Primary registry evidence | NIST IR 8183; NIST SP 1800-10; NIST SP 800-82; MITRE ATT&CK for ICS | Sector evidence cited in the governed registry | See pack STATUS.

## 17 Evidence Register
17 — Evidence Grade Register
Evidence-grade scale used to label pack assumptions.
How used in the model: Governance labels only. Grades do not rescale OT Monte Carlo results.
Grade | Definition | Minimum record | Use
A | Direct empirical evidence | Internal incidents, claims, organisation-years, control tests or BIA evidence | Preferred calibration
B | Relevant portfolio evidence | Comparable anonymised FS incidents, claims or control-testing evidence | Portfolio calibration
C | External evidence | Regulators, ENISA, DBIR, published incidents and case studies | Context and bounded calibration
D | Structured expert judgement | Named experts, documented rationale, range/distribution and independent challenge | Only where A–C are unavailable

## 18 Validation
18 — Pack Validation
Spreadsheet checks (PACK_ID, DOMAIN=OT, TTP and asset row counts).
How used in the model: Advisory in Excel. Python repeats pack identity, TTP coverage and multiplier presence and fails closed independently.
SHEET TYPE: SECTOR PACK CALIBRATION - PACK OWNER ONLY
Check | Actual | Expected | Tolerance | Status
PACK_ID populated |  | MF-v1.0 | 0
DOMAIN is OT |  | OT
TTP catalogue has rows |  | >0
Asset archetypes have rows |  | >0